SECTION 27 05 29.13

HANGERS AND SUPPORTS FOR A-V EQUIPMENT

GENERAL

SUMMARY

Section includes furnishing and installation of articulating wall mounting systems for supporting flat panel audio-visual displays in commercial, institutional, educational, corporate, and professional environments.

Mounting system shall be Peerless-AV® Paramount™ Articulating Wall Mount, Model PA762, or approved equal meeting all specified performance, adjustment, articulation, compatibility, installation, and cable management requirements without modification to the mounting system or accessories.

Includes wall mounting assemblies, display adaptor brackets, mounting hardware, cable management components, fasteners, and manufacturer-approved accessories required for a complete installation.

Coordinate mounting locations with wall backing, recessed electrical boxes, low-voltage pathways, cable management systems, and wall finishes to ensure proper installation and service accessibility. Due to the articulating nature of this product, confirm adequate clearance for full extension (21.32” / 542 mm) and ±90° swivel range prior to installation.

RELATED SECTIONS

Division 06 - Wood: Blocking and backing within wall assemblies.

Division 09 - Finishes: Wall finishes, surface preparation, and non-load-bearing metal framing at mounting locations.

Division 26 - Electrical: Coordination of power supply, conduit, junction boxes, and data connections associated with wall-mounted displays.

Division 27 - Communications: Low-voltage cabling and cable management routing through or alongside articulating arm assembly.

REFERENCES

UL 2442 - Flat Panel Display Mounting Devices.

ADA Standards for Accessible Design, where applicable.

NFPA 70 - National Electrical Code (NEC).

ASTM C-90 - Standard Specification for Load-Bearing Concrete Masonry Units (applicable where concrete masonry unit (CMU) substrates are used).

Manufacturer’s published installation instructions and standard installation procedures.

Applicable local building codes and regulations governing mounting systems and accessibility.

SUBMITTALS

Product Data Sheets: Manufacturer’s current technical literature indicating dimensions, materials, finishes, load ratings, extension ranges, articulation ranges, mounting patterns, and compliance listings.

Shop Drawings: Indicating mounting locations, articulation clearances, and coordination with electrical and low-voltage systems.

Installation Instructions: Manufacturer’s current installation instructions and recommended anchorage methods.

Warranty Documentation: Manufacturer’s standard warranty information.

Accessory Data: Technical data for optional or specified accessories, if applicable.

QUALITY ASSURANCE

Manufacturer shall have a minimum of ten (10) years experience producing commercial A-V mounting systems of similar type, size, and complexity.

Products shall be UL listed and labeled by a nationally recognized testing laboratory and shall comply with applicable safety and performance standards.

Installer shall be experienced in installation of commercial AV mounting systems of similar size, weight and articulation complexity.

DELIVERY, STORAGE, AND HANDLING

Deliver products in original factory packaging with labels intact.

Store products indoors in a clean, dry location, protected from moisture, physical damage, and exposure to construction activities.

Protect from damage due to weather, moisture, construction operations and excessive temperature

This product is intended for indoor use only. Use outdoors may lead to product failure or personal injury.

WARRANTY

Provide manufacturer’s limited lifetime warranty covering defects in materials and workmanship under normal use and service conditions.

PRODUCTS

MANUFACTURERS

Basis-of-Design Product:
Peerless-AV® Paramount™ Articulating Wall Mount
Model: PA762
Manufactured by Peerless-AV®, 2300 White Oak Circle, Aurora, IL 60502; Phone (800) 865-2112, (630) 375-5100
Website: www.peerless-av.com

Substitutions:
Approved equal products shall meet or exceed all specified load capacities, VESA compatibility, articulation ranges, extension distances, swivel capabilities, tilt adjustment, cable management functionality, installation methods, compatibility requirements, and UL listing and installation requirements without requiring redesign of wall conditions, structural reinforcement, or modification to accessories or mounting components, in accordance with Section 01 25 00.

PERFORMANCE REQUIREMENTS

Listings:

UL Listed and labeled in compliance with UL 2442 - Flat Panel Display Mounting Devices.

Comply with applicable environmental and material compliance requirements, including RoHS and TAA compliance.

Design tested to four (4) times the stated load capacity.

Acceptable Wall Substrates:

Wood studs: Minimum 2” × 4” nominal size. Do not install over gypsum board thicker than 5/8”.

Solid concrete: Minimum 8” thick with a minimum compressive strength of 2,000 psi.

Concrete masonry unit (CMU): Must meet ASTM C-90 specifications with a minimum nominal width of 8”. Do not drill into mortar joints.

Load Capacity:
Mounting system shall support a minimum static load of 150 lb (68 kg) without permanent deformation or loss of structural integrity.

Display Size Range:
Compatible with flat panel displays ranging from 39 inches to 90 inches or larger, subject to display weight and VESA mounting pattern compatibility.

Mounting Pattern Compatibility:

Compatible with VESA® mounting patterns ranging from 200 × 100 mm up to 600 × 400 mm.

Articulation and Extension

Mounting system shall provide articulating arm functionality allowing extension of the display up to 21.32 inches (542 mm) from the wall surface.

Mounting system shall retract to approximately 3.00 inches (76 mm) from wall surface for a low-profile appearance when not extended.

Provide swivel adjustment capability up to ±90 degrees for flexible display positioning and viewing angle optimization.

Tilt and Leveling:

Provide adjustable tilt capability from +15° of forward tilt and -5° of backward tilt for optimizing viewing angles and reducing glare.

Tilt mechanism shall incorporate lockable tilt positioning utilizing a ratcheting adjustment handle.

Provide post-installation roll adjustment capability of ±5 degrees for display leveling after installation.

Installation Features:

Hook-and-Hang™ System: Display shall be installable by a single person via hook-and-hang method.

Provide integrated cable management system designed to protect, contain, and conceal cables within articulating arm assembly for a clean installation appearance.

Adaptor plate configuration shall minimize obstruction of display input, power, and connection locations.

Provide smooth articulating movement while maintaining structural stability throughout full extension and swivel range.

PRODUCT SPECIFICATIONS

Physical Dimensions:

Overall Dimensions (W x H x D): 24.38” x 16.75” x 3.00”-21.32” (619 x 425 x 76-542 mm)

Product Weight: 21.08 lb (9.56 kg)

Load Capacity: 150 lb (68 kg)

Extension Range: 3.00” (76 mm) retracted to 21.32” (542 mm) fully extended

Tilt Range: +15° forward / -5° backward, lockable ratcheting handle

Swivel (Pan) Range: ±90° horizontal rotation

Roll Range: ±5° for post-installation leveling

Min VESA Pattern: 200 x 100 mm

Max VESA Pattern: 600 x 400 mm (23.62” x 15.75”)

Min Clearance (center to display bottom): 24.6” (626 mm)

Finish: Scratch-resistant fused epoxy, gloss black

Warranty: Limited Lifetime Warranty

Package Specifications:

Package Dimensions (W x H x D): 27.31” x 3.50” x 16.50” (694 x 89 x 419 mm)

Package Ship Weight: 24.40 lb (11.07 kg)

Package UPC: 735029304890

Package Contents: Wall mount, wall and display installation hardware, installation instructions

Included Hardware:

Includes manufacturer-provided wall and display mounting hardware required for complete installation.

MATERIALS AND FINISH

Structural components shall be fabricated from heavy-duty steel suitable for supporting specified loads.

Finish shall be manufacturer’s standard scratch-resistant fused epoxy coating.

Color: Gloss black.

ACCESSORIES

Provide manufacturer-approved accessories compatible with the mounting system and installation requirements.

Accessories shall not reduce rated load capacity or interfere with mounting system performance.

Available accessories include, but are not limited to:

ACC-UCM - Universal AV Component Mount

ESHV Models - AV Wall Shelves

WSP756 - Metal Stud Wall Plate

EXECUTION

EXAMINATION

Verify wall construction, substrate type, and load-bearing capacity are suitable for installation of the mounting system.

Verify mounting locations, articulation clearances, display extension range, and coordination with electrical and low-voltage systems prior to installation.

For wood stud walls: use a stud finder to locate and mark stud center lines. Confirm studs are a minimum of 2” x 4” nominal size and that gypsum board does not exceed 5/8” in thickness.

For concrete walls: confirm wall is at least 8” thick with a minimum compressive strength of 2,000 psi.

For concrete masonry unit (CMU) walls: confirm blocks meet ASTM C-90 specifications and have a minimum nominal width of 8”. Identify mortar joint locations to be avoided.

Verify coordination of cable routing path from wall outlet through articulating arm assembly to display.

INSTALLATION

Install mounting system in accordance with manufacturer’s written instructions and applicable codes.

Secure mounting system to structural framing or approved substrates using manufacturer-recommended fasteners and anchorage methods.

Coordinate mounting locations with wall blocking, electrical rough-in, recessed outlet boxes, and cable management systems.

Verify mounting location provides adequate structural support for articulated loads generated during full extension and swivel operation.

Adjust mounting system for final level, alignment, articulation range, extension, tilt positioning, and display orientation after installation.

Verify cable routing remains protected and unrestricted throughout full articulating movement range.

Verify completed installation is secure, properly aligned, and fully operational prior to final acceptance.

CLEANING AND PROTECTION

Remove debris, packaging materials, and installation residue from project site.

Verify articulating arm moves freely through full extension, swivel, and tilt range without obstruction after cleanup.

Protect installed equipment from damage until substantial completion and final acceptance.

- END OF SECTION